ANNUAL DRINKING WATER QUALITY REPORT

**2023**

**TRI-COUNTY WATER DISTRICT**

WEBSITE | tricountywater-nd.com 205 5TH ST PETERSBURG | ND | 58272 PHONE | 701-345-8595

We’re very pleased to provide you with this year's ***Annual Drinking Water Quality Report.*** We want to keep you informed about the excellent water and services we have delivered to you over the past year. Our goal is, and always has been, to provide to you a safe and dependable supply of drinking water.

Our public water system, in cooperation with the North Dakota Department of Environmental Quality, has completed the delineation and contaminant/land use inventory elements of the North Dakota Source Water Protection Program. Based on the information from these elements, the North Dakota Department of Environmental Quality has determined that our source water is not susceptible to potential contaminants. In order to ensure that the system’s groundwater supply is safe to drink for years to come, the source of the system’s groundwater should be protected. The system’s groundwater source is a glacial drift aquifer known as the Elk Valley Aquifer. This surficial aquifer is comprised

of sand and gravel deposited by deltaic, beach, and/or glacial outwash processes near the end of Wiconsinan glaciation. The aquifer sets on relatively impermeable glacial till. This unconfined aquifer is around 35 feet thick in the wellfield area. The system’s four wells developed within this aquifer range in depth from 28 feet to 40 feet. Concentration of total dissolved solids found in the water supply is at approximately 420 milligrams per liter. The area is overlain by medium-grained soils. Recharge precipitation and surface contaminants will percolate through

the soils at a moderate rate and through the sandy subsurface at a rapid rate. Additional information regarding this program may be obtained by contacting the water office.

This report is required by the federal Safe Drinking Water Act (SDWA). Tri-County Water would appreciate it if large volume water customers posted copies of the ***Annual Drinking Water Report*** in conspicuous locations or distribute them to tenants, residents, patients, students, and/or employees, so individuals who consume the water but do not receive a water bill can learn about our water system. If you have any questions about this report or concerning your water utility, please contact Mike Blessum, manager, at 701-345-8595. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the third Thursday of each month at the office in Petersburg. If you are aware of non-English speaking individuals who need help with the appropriate language translation, please call Mike Blessum at the number listed above.

Tri-County Water District routinely monitors for contaminants in your drinking water according to federal and state laws. The following table show the results of our monitoring for the period of Jan. 1 to Dec. 31, 2023. As authorized and approved by the Environmental Protection Agency (EPA), the state has reduced monitoring requirements for certain contaminants to less often than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. Some of our data [e.g., for organic contaminants], though representative, is more than one year old.

The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally- occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

**CONTAMINANTS THAT MAY BE PRESENT IN SOURCE WATER INCLUDE:**

***Microbial contaminants,*** such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

***Inorganic contaminants,*** such as salts and metals, which can be naturally occurring or result from urban storm water, industrial or domestic wastewater discharges, oil production, mining, or farming.

***Pesticides and herbicides,*** which come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

***Organic chemical contaminants,*** including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

***Radioactive contaminants,*** which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

In the following table, you will find many terms and abbreviations with which you might not be familiar. To help you better understand these terms, we've provided the following definitions:

***Non-Detects (ND)*** – Laboratory analysis indicates that the contaminant is not present.

***Parts per million (ppm) or milligrams per liter (mg/L)*** – One part per million corresponds to one minute in two years or a single penny in $10,000.

***Parts per billion (ppb) or micrograms per liter (μg/L)*** – One part per billion corresponds to one minute in 2,000 years or a single penny in $10 million.

***Action Level (AL)*** – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Treatment Technique (TT)*** – A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

***Maximum Contaminant Level (MCL)*** – The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

***Maximum Contaminant Level Goal (MCLG)*** – The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Maximum Residual Disinfection Level (MRDL)*** – The highest level allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfectant Level Goal (MRDLG)*** – The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits to the use of disinfectants to control microbial contaminants.

***Highest Compliance Level*** – The highest level of that contaminant used to determine compliance with a National Primacy Drinking Water regulation.

***Range of Detections*** – The lowest to the highest result value recorded during the required monitoring timeframe for systems with multiple entry points.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TEST RESULTS FOR TRI-COUNTY WATER DISTRICT** | | | | | | | | |
| **Contaminant** | **Violation Yes/No** | **Level Detected** | **Range** | **Date** | **Unit Measurement** | **MCLG** | **MCL** | **Likely Source of Contamination** |
| Arsenic | No | 1.33 |  | 3/24/2016 | ppb | 0 | 10 | Erosion of natural deposits, runoff from orchards, runoff from glass and electronics production wastes |
| Barium | No | 0.0524 |  | 4/3/2017 | ppm | 2 | 2 | Discharge of drill wastes, discharge from metal refineries, erosion of natural deposits |
| Chromium | no | 3.17 | N/A | 4/03/2017 | ppb | 100 | 100 | Discharge from Steel and pulp mills; Erosion of natural deposits |
| Selenium | No | 1.2 | N/A | 4/3/2017 | ppb | 50 | 50 | Discharge from petroleum and metal refineries, erosion of natural deposits, discharge from mines |
| Fluoride | No | .586 | N/A | 4/3/2017 | ppm | 4 | 4 | Erosion of natural deposits, water additive which promotes strong teeth, discharge from fertilizer and aluminum factories |
| Copper | No | 0.202 |  | 9/23/2021 | ppm | 1.3 | AL=1.3 | Corrosion of household plumbing systems, erosion of natural deposits, leaching from wood preservatives |
| Lead | No | 3.42 |  | 9/23/2021 | ppb | 15 | AL=15 | Corrosion of household plumbing systems, erosion of natural deposits |
| Nitrate-Nitrite | No | 1.67 |  | 3/7/2023 | ppm | 10 | 10 | Runoff from fertilizer use, leaching from septic tanks, sewage, erosion of natural deposits |
| **Disinfection By-products** | | | | | | | | |
| TTHM | No | 34 |  | 12/31/2023 | ppb | 60 | N/A | By-product of drinking water chlorination |
| HAA5 | No | 9 |  | 12/31/2023 | ppb | 80 | N/A | By-product of drinking water chlorination |
| **Disinfectants** | | | | | | | | |
| Chlorine | No | 1.4 | 1.3 -1.47 | 1/31/2023 | ppm | MRDLG=4 MRDL=4.0 | MRDLG=4 MRDL=4.0 |  |
| **Radioactive Contaminants** | | | | | | | | |
| Gross Alpha, including RA, excluding RN & U | No | ND | N/A | 5/9/2022 | pCi/L | 15 | 15 | Erosion of natural deposits |
| Radium, combined (226, 228) | No | 0.323 | N/A | 5/9/2022 | pCi/L | 5 | 5 | Erosion of natural deposits. |
| Uranium, combined | No | 2.86 | N/A | 5/9/2022 | ppb |  | 30 | Erosion of natural deposits |

EPA requires monitoring of over 80 drinking water contaminants. Those contaminants listed in the table above are the only contaminants detected in your drinking water.

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted.

Your water system monitors for a number of unregulated organic contaminants, which could indicate a contamination of the water supply from a pesticide or petroleum spill or leak.

Our system had no violations. We’re proud that your drinking water meets or exceeds all federal and state requirements. We have learned through our monitoring and testing that some contaminants have been detected. The EPA has determined that your water IS SAFE at these levels.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791).

MCLs are set at very stringent levels. To understand the possible health effects described for many regulated contaminants, a person would have to drink two liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno- compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants, can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/ CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Tri-County Water District is responsible for providing high-quality drinking water but cannot control the variety of materials used in plumbing components. **Use water from the cold tap for drinking and cooking. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to two minutes before using water for drinking or cooking.** If you are concerned about lead in your drinking water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at [*www.epa.gov/safewater/lead.*](http://www.epa.gov/safewater/lead)

Tri-County Water District works around the clock to provide top quality water to every tap. Thank you for allowing us to provide your family with clean, quality water this year. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life, and our children’s future.

Please call our office if you have questions.